## COVER LETTER
Our Ref. |  | QTE-26-212-EM
Date: |  | September 23,2026
CDO Malvar, Batangas
E24PV+M3G, Bulihan, Malvar, Batangas
Attention: |  | Mr. Jeffrey Canamague Jr.
Sr. Category Buyer ¦ Corporate Purchasing
Subject: |  | GP Marine-Aumpack Automation
Gentlemen:
In response to your inquiry, we are pleased to quote you the following items:
ITEM | DESCRIPTION |  | QTY | UNIT | UNIT COST | TOTAL
AMOUNT
1 | Supply of quality labor, materials, tools and equipment for the above mentioned subject with itemized price breakdown indicated in the attachment. |  | 1 | lot | 3293739.9488 | 3293739.9488
|  | Total Project Amount (VAT Included) |  |  | 3293739.9488
TERMS AND CONDITIONS:
Completion |  | : To be agreed upon.
Payment |  | : Thirty Percent (30%) Down Payment, Sixty Percent (60%) Progress Billing and Ten Percent (10%) Retention
Validity |  | : Seven Calendar (7) Days
: Eyelectric, Incorporated reserves the right to modify the price in case of materials and logistics
changes in the market due to extraneous and supervening events
EXCLUSIONS:
1.) All other scope not specifically mentioned in this proposal.
2.) The owner shall provide ample space for the contractor for storage of materials.
3.) If so required, COVID19 related testing, vaccine & treatment are excluded. Though rapid test included.
4.) Permitting are not included in this proposal.
Thank you very much for giving EYELECTRIC, INCORPORATED the opportunity to quote on this requirements. We hope everything is in order. We will keep in touch as to the development of your inquiries.
Very truly yours,
EYELECTRIC, INC. |  |  | Noted by:
for:
Andrea O. Gervacio |  |  | Rey R. Araos
Client Relation Officer |  |  | President
| Greenboard Drywall 6" |  |  | 1600
|  | 22.88 |  | 817.745
[5 empty] | 0 |  | 0
|  | 1 | lot | 16800

## Table 1
Project: | GP Marine-Aumpack Automation
Location: | CDO Malvar,Batangas
Attention | Mr. Jeffrey Canamague Jr.
QTE Ref | QTE-26-212-EM
Date | September 23,2026
[6 empty] | COST | 1.6 | 1.25
[6 empty] | 1.15 | 1.75 | 31.48%
Item | Description | Qty | Unit | Unit Cost (Php) |  |  |  | Total Amount (Php) | Unit Cost (Php) |  |  |  | Total Amount (Php)
|  |  |  | Material | Total | Labor | Total |  | Material | Total | Labor | Total
I. | General Requirements |  |  |  |  | 0.4 | 0.25
a. | Mobilization and Demobilization | 1 | lot |  |  | 50000 | 50000 | 50000 |  |  | 70000 | 70000 | 70000
Temporary Facilities & Utilities Connection
b. | Temporary Power Supply | 1 | lot |  |  | 20000 | 20000 | 20000 |  |  | 28000 | 28000 | 28000
c. | Temporary Water Supply | 1 | lot |  |  | 15000 | 15000 | 15000 |  |  | 21000 | 21000 | 21000
d. | Temporary Facility (if required) | 1 | lot |  |  | 50000 | 50000 | 50000 |  |  | 70000 | 70000 | 70000
PPE and other Safety & Security Requirements
e. | Safety Officer | 1 | lot |  |  | 5000 | 5000 | 5000 |  |  | 7000 | 7000 | 7000
f. | Warning and Hazzard Signs, Tarpaulins, etc. | 1 | lot |  |  | 5000 | 5000 | 5000 |  |  | 7000 | 7000 | 7000
g. | PPE | 1 | lot |  |  | 5000 | 5000 | 5000 |  |  | 7000 | 7000 | 7000
h. | Cleaning and Housekeeping | 1 | lot |  |  | 3000 | 3000 | 3000 |  |  | 4200 | 4200 | 4200
i. | Site Supervisory and Administrative Staff | 1 | lot |  |  | 30000 | 30000 | 30000 |  |  | 42000 | 42000 | 42000
| Bonds and Insurances | 1 | lot |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
j. | Contractor's All Risk Insurance | 1 | lot |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
k. | Surety Bond | 1 | lot |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
l. | Performance Bond | 1 | lot |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
m. | Warranty Bond | 1 | lot |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
n. | Field and Operations General Expenses incl Equipment Cost | 1 | lot |  |  | 50000 | 50000 | 50000 |  |  | 70000 | 70000 | 70000
Hauling and Disposal
o. | Hauling and Disposal of dismantled items, unnecessary materials and other construction generated wastes | 1 | lot |  |  | 25000 | 25000 | 25000 |  |  | 35000 | 35000 | 35000
p. | Scaffolding Works | 1 | lot |  |  | 20000 | 20000 | 20000 |  |  | 28000 | 28000 | 28000
q. | QA and QC Documentation and As-Built Drawing Submittals | 1 | lot |  |  | 10000 | 10000 | 10000 |  |  | 14000 | 14000 | 14000
| Sub Total: | [6 empty] | 288000 |  |  |  |  | 403200
II. | SCOPE OF WORKS
Electrical Works
a. | Enclosed Circuit Breaker 32AT,3P | 1 | set | 11000 | 11000 | 1650 | 1650 | 12650 | 14080 | 14080 | 2310 | 2310 | 16390
b, | THHN Wire 8.0mm | 225 | meters | 143 | 32175 | 21.45 | 4826.25 | 37001.25 | 183.04 | 41184 | 30.03 | 6756.75 | 47940.75
c. | THHN Wire 5.5mm Ground | 75 | meters | 68 | 5100 | 10.2 | 765 | 5865 | 87.04 | 6528 | 14.28 | 1071 | 7599
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 25mm | 25 | pcs | 1066 | 26650 | 159.9 | 3997.5 | 30647.5 | 1364.48 | 34112 | 223.86 | 5596.5 | 39708.5
f. | IMC Pipe 15mm | 18 | pcs | 567 | 10206 | 85.05 | 1530.9 | 11736.9 | 725.76 | 13063.68 | 119.07 | 2143.26 | 15206.94
g. | Liquidtight Conduit 25mm | 3 | meters | 221 | 663 | 33.15 | 99.45 | 762.45 | 282.88 | 848.64 | 46.41 | 139.23 | 987.87
h. | Liquidtight Straight Connector 25mm | 4 | pcs | 119 | 476 | 17.85 | 71.4 | 547.4 | 152.32 | 609.28 | 24.99 | 99.96 | 709.24
i. | Crimping Lugs 8.0mm | 9 | pcs | 69 | 621 | 10.35 | 93.15 | 714.15 | 88.32 | 794.88 | 14.49 | 130.41 | 925.29
j. | Crimping Lugs 5.5mm | 4 | pcs | 35 | 140 | 5.25 | 21 | 161 | 44.8 | 179.2 | 7.35 | 29.4 | 208.6
k. | Hanger and Support | 1 | lot | 12000 | 12000 | 1800 | 1800 | 13800 | 15360 | 15360 | 2520 | 2520 | 17880
| Labeler |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 16AT,3P | 1 | set | 9500 | 9500 | 1425 | 1425 | 10925 | 12160 | 12160 | 1995 | 1995 | 14155
b, | THHN Wire 3.5mm | 285 | meters | 51 | 14535 | 7.65 | 2180.25 | 16715.25 | 65.28 | 18604.8 | 10.71 | 3052.35 | 21657.15
c. | THHN Wire 2.0mm Ground | 95 | meters | 33 | 3135 | 4.95 | 470.25 | 3605.25 | 42.24 | 4012.8 | 6.93 | 658.35 | 4671.15
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 15mm | 47 | pcs | 567 | 26649 | 85.05 | 3997.35 | 30646.35 | 725.76 | 34110.72 | 119.07 | 5596.29 | 39707.01
f. | Liquidtight Conduit 15mm | 3 | meters | 76 | 228 | 11.4 | 34.2 | 262.2 | 97.28 | 291.84 | 15.96 | 47.88 | 339.72
g. | Liquidtight Straight Connector 15mm | 4 | pcs | 64 | 256 | 9.6 | 38.4 | 294.4 | 81.92 | 327.68 | 13.44 | 53.76 | 381.44
h. | Hanger and Support | 1 | lot | 10000 | 10000 | 1500 | 1500 | 11500 | 12800 | 12800 | 2100 | 2100 | 14900
| Case Packer |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 63AT,3P | 1 | set | 16500 | 16500 | 2475 | 2475 | 18975 | 21120 | 21120 | 3465 | 3465 | 24585
b, | THHN Wire14 mm | 125 | meters | 180 | 22500 | 27 | 3375 | 25875 | 230.4 | 28800 | 37.8 | 4725 | 33525
c. | THHN Wire 5.5mm Ground | 70 | meters | 68 | 4760 | 10.2 | 714 | 5474 | 87.04 | 6092.8 | 14.28 | 999.6 | 7092.4
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 25mm | 23 | pcs | 1066 | 24518 | 159.9 | 3677.7 | 28195.7 | 1364.48 | 31383.04 | 223.86 | 5148.78 | 36531.82
f. | IMC Pipe 15mm | 18 | pcs | 567 | 10206 | 85.05 | 1530.9 | 11736.9 | 725.76 | 13063.68 | 119.07 | 2143.26 | 15206.94
g. | Liquidtight Conduit 25mm | 3 | meters | 221 | 663 | 33.15 | 99.45 | 762.45 | 282.88 | 848.64 | 46.41 | 139.23 | 987.87
h. | Liquidtight Straight Connector 25mm | 4 | pcs | 119 | 476 | 17.85 | 71.4 | 547.4 | 152.32 | 609.28 | 24.99 | 99.96 | 709.24
i. | Crimping Lugs 14mm | 9 | pcs | 95 | 855 | 14.25 | 128.25 | 983.25 | 121.6 | 1094.4 | 19.95 | 179.55 | 1273.95
j. | Crimping Lugs 5.5mm | 4 | pcs | 35 | 140 | 5.25 | 21 | 161 | 44.8 | 179.2 | 7.35 | 29.4 | 208.6
k. | Hanger and Support | 1 | lot | 15000 | 15000 | 2250 | 2250 | 17250 | 19200 | 19200 | 3150 | 3150 | 22350
| Case Erector |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 16AT,3P | 1 | set | 9500 | 9500 | 1425 | 1425 | 10925 | 12160 | 12160 | 1995 | 1995 | 14155
b, | THHN Wire 3.5mm | 200 | meters | 51 | 10200 | 7.65 | 1530 | 11730 | 65.28 | 13056 | 10.71 | 2142 | 15198
c. | THHN Wire 2.0mm Ground | 95 | meters | 33 | 3135 | 4.95 | 470.25 | 3605.25 | 42.24 | 4012.8 | 6.93 | 658.35 | 4671.15
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 15mm | 35 | pcs | 567 | 19845 | 85.05 | 2976.75 | 22821.75 | 725.76 | 25401.6 | 119.07 | 4167.45 | 29569.05
f. | Liquidtight Conduit 15mm | 3 | pm | 76 | 228 | 11.4 | 34.2 | 262.2 | 97.28 | 291.84 | 15.96 | 47.88 | 339.72
g. | Liquidtight Straight Connector 15mm | 4 | pcs | 64 | 256 | 9.6 | 38.4 | 294.4 | 81.92 | 327.68 | 13.44 | 53.76 | 381.44
h. | Hanger and Support | 1 | pcs | 10000 | 10000 | 1500 | 1500 | 11500 | 12800 | 12800 | 2100 | 2100 | 14900
| Case Sealer |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 16AT,3P | 2 | set | 9500 | 19000 | 1425 | 2850 | 21850 | 12160 | 24320 | 1995 | 3990 | 28310
b, | THHN Wire 3.5mm | 400 | meters | 51 | 20400 | 7.65 | 3060 | 23460 | 65.28 | 26112 | 10.71 | 4284 | 30396
c. | THHN Wire 2.0mm Ground | 190 | meters | 33 | 6270 | 4.95 | 940.5 | 7210.5 | 42.24 | 8025.6 | 6.93 | 1316.7 | 9342.3
d. | THHN Wire 2.0mm for DC Supply | 2 | box | 4950 | 9900 | 742.5 | 1485 | 11385 | 6336 | 12672 | 1039.5 | 2079 | 14751
e. | IMC Pipe 15mm | 70 | pcs | 567 | 39690 | 85.05 | 5953.5 | 45643.5 | 725.76 | 50803.2 | 119.07 | 8334.9 | 59138.1
f. | Liquidtight Conduit 15mm | 6 | pm | 76 | 456 | 11.4 | 68.4 | 524.4 | 97.28 | 583.68 | 15.96 | 95.76 | 679.44
g. | Liquidtight Straight Connector 15mm | 8 | pcs | 64 | 512 | 9.6 | 76.8 | 588.8 | 81.92 | 655.36 | 13.44 | 107.52 | 762.88
h. | Hanger and Support | 1 | lot | 20000 | 20000 | 3000 | 3000 | 23000 | 25600 | 25600 | 4200 | 4200 | 29800
| Case Checkweigher |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 16AT,3P | 2 | set | 9500 | 19000 | 1425 | 2850 | 21850 | 12160 | 24320 | 1995 | 3990 | 28310
b, | THHN Wire 3.5mm | 400 | meters | 51 | 20400 | 7.65 | 3060 | 23460 | 65.28 | 26112 | 10.71 | 4284 | 30396
c. | THHN Wire 2.0mm Ground | 190 | meters | 33 | 6270 | 4.95 | 940.5 | 7210.5 | 42.24 | 8025.6 | 6.93 | 1316.7 | 9342.3
d. | THHN Wire 2.0mm for DC Supply | 2 | box | 4950 | 9900 | 742.5 | 1485 | 11385 | 6336 | 12672 | 1039.5 | 2079 | 14751
e. | IMC Pipe 15mm | 70 | pcs | 567 | 39690 | 85.05 | 5953.5 | 45643.5 | 725.76 | 50803.2 | 119.07 | 8334.9 | 59138.1
f. | Liquidtight Conduit 15mm | 6 | pm | 76 | 456 | 11.4 | 68.4 | 524.4 | 97.28 | 583.68 | 15.96 | 95.76 | 679.44
g. | Liquidtight Straight Connector 15mm | 8 | pcs | 64 | 512 | 9.6 | 76.8 | 588.8 | 81.92 | 655.36 | 13.44 | 107.52 | 762.88
h. | Hanger and Support | 1 | lot | 20000 | 20000 | 3000 | 3000 | 23000 | 25600 | 25600 | 4200 | 4200 | 29800
| Palletizer Robot |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 16AT,3P | 1 | set | 9500 | 9500 | 1425 | 1425 | 10925 | 12160 | 12160 | 1995 | 1995 | 14155
b, | THHN Wire 8.0mm | 210 | meters | 143 | 30030 | 21.45 | 4504.5 | 34534.5 | 183.04 | 38438.4 | 30.03 | 6306.3 | 44744.7
c. | THHN Wire 5.5mm Ground | 75 | meters | 68 | 5100 | 10.2 | 765 | 5865 | 87.04 | 6528 | 14.28 | 1071 | 7599
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 25mm | 26 | pcs | 1066 | 27716 | 159.9 | 4157.4 | 31873.4 | 1364.48 | 35476.48 | 223.86 | 5820.36 | 41296.84
f. | IMC Pipe 15mm | 20 | pcs | 567 | 11340 | 85.05 | 1701 | 13041 | 725.76 | 14515.2 | 119.07 | 2381.4 | 16896.6
g. | Liquidtight Conduit 25mm | 3 | meters | 221 | 663 | 33.15 | 99.45 | 762.45 | 282.88 | 848.64 | 46.41 | 139.23 | 987.87
h. | Liquidtight Straight Connector 25mm | 4 | pcs | 119 | 476 | 17.85 | 71.4 | 547.4 | 152.32 | 609.28 | 24.99 | 99.96 | 709.24
i. | Crimping Lugs 8.0mm | 9 | pcs | 69 | 621 | 10.35 | 93.15 | 714.15 | 88.32 | 794.88 | 14.49 | 130.41 | 925.29
j. | Crimping Lugs 5.5mm | 4 | pcs | 35 | 140 | 5.25 | 21 | 161 | 44.8 | 179.2 | 7.35 | 29.4 | 208.6
k, | Hanger and Support | 1 | lot | 18000 | 18000 | 2700 | 2700 | 20700 | 23040 | 23040 | 3780 | 3780 | 26820
| Modular Conveyors |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | Enclosed Circuit Breaker 63AT,3P | 1 | set | 16500 | 16500 | 2475 | 2475 | 18975 | 21120 | 21120 | 3465 | 3465 | 24585
b, | THHN Wire 14mm | 125 | meters | 180 | 22500 | 27 | 3375 | 25875 | 230.4 | 28800 | 37.8 | 4725 | 33525
c. | THHN Wire 5.5mm Ground | 70 | meters | 68 | 4760 | 10.2 | 714 | 5474 | 87.04 | 6092.8 | 14.28 | 999.6 | 7092.4
d. | THHN Wire 2.0mm for DC Supply | 1 | box | 4950 | 4950 | 742.5 | 742.5 | 5692.5 | 6336 | 6336 | 1039.5 | 1039.5 | 7375.5
e. | IMC Pipe 25mm | 23 | pcs | 1066 | 24518 | 159.9 | 3677.7 | 28195.7 | 1364.48 | 31383.04 | 223.86 | 5148.78 | 36531.82
f. | IMC Pipe 15mm | 18 | pcs | 567 | 10206 | 85.05 | 1530.9 | 11736.9 | 725.76 | 13063.68 | 119.07 | 2143.26 | 15206.94
g. | Liquidtight Conduit 25mm | 3 | meters | 221 | 663 | 33.15 | 99.45 | 762.45 | 282.88 | 848.64 | 46.41 | 139.23 | 987.87
h. | Liquidtight Straight Connector 25mm | 4 | pcs | 119 | 476 | 17.85 | 71.4 | 547.4 | 152.32 | 609.28 | 24.99 | 99.96 | 709.24
i. | Crimping Lugs 14mm | 9 | pcs | 95 | 855 | 14.25 | 128.25 | 983.25 | 121.6 | 1094.4 | 19.95 | 179.55 | 1273.95
j. | Crimping Lugs 5.5mm | 4 | pcs | 35 | 140 | 5.25 | 21 | 161 | 44.8 | 179.2 | 7.35 | 29.4 | 208.6
k. | Hanger and Support | 1 | lot | 15000 | 15000 | 2250 | 2250 | 17250 | 19200 | 19200 | 3150 | 3150 | 22350
| Subtotal Electrical Works: | [6 empty] | 889497.4 |  |  |  |  | 1152479.24
a. | Provision of Compressed Air Supply (Droppings) | 1 | set | 114000 | 114000 | 34200 | 34200 | 148200 | 145920 | 145920 | 47880 | 47880 | 193800
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
b. | Labeler | 1 | set | 104400 | 104400 | 31320 | 31320 | 135720 | 133632 | 133632 | 43848 | 43848 | 177480
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
c. | Case Packer | 1 | set | 108000 | 108000 | 32400 | 32400 | 140400 | 138240 | 138240 | 45360 | 45360 | 183600
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
d. | Case Erector | 1 | set | 96000 | 96000 | 28800 | 28800 | 124800 | 122880 | 122880 | 40320 | 40320 | 163200
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
e. | Case Sealer | 1 | set | 104400 | 104400 | 31320 | 31320 | 135720 | 133632 | 133632 | 43848 | 43848 | 177480
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
f. | Palletizer Robot | 1 | set | 96000 | 96000 | 28800 | 28800 | 124800 | 122880 | 122880 | 40320 | 40320 | 163200
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
g. | Modular Conveyors | 1 | set | 96000 | 96000 | 28800 | 28800 | 124800 | 122880 | 122880 | 40320 | 40320 | 163200
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
h. | Standard Conveyors | 1 | set | 96000 | 96000 | 28800 | 28800 | 124800 | 122880 | 122880 | 40320 | 40320 | 163200
Provision of Compressed Air Supply (Droppings)
1/2 G.I pipe schedule 40
ball valve 1/2 inch diameter
pressure gauge
Banding/labelling
miscellanious and consumables
Hanger and Support
Fittings G.I
| Sub Total Mechanical Works: | [6 empty] | 1059240 |  |  |  |  | 1385160
| TOTAL AMOUNT | [6 empty] | 2236737.4 |  |  |  |  | 2940839.24
| 12% VAT : | [6 empty] | 268408.488 |  |  |  |  | 352900.7088
| TOTAL PROJECT COST(VAT INCLUDED) : | [6 empty] | 2505145.888 |  |  |  |  | 3293739.9488
Prepared By: |  | Noted By:
for:
Andrea O. Gervacio |  | Rey R. Araos
Client Relation Officer |  | President